## Slide 1: IoT Greenhouse
Andreas B. Søndergård
Lasse Lundholm

## Slide 2: Concept
Make drawing

## Slide 3: Requirements
Supply voltage: 12V (pump), 5V (Particle Photon)
Make system battery ready – ie low power consumption
WiFi
Cloud data
Precision temperature +/- 1 deg
Precision humidity +/- 5 %
Precision waterlevel +/- 3 cm
Read temperature/humidity/waterlevel every 15 minute
Alarmmessage within 1 hour of ”alarm event”
Alarm from temperature and waterlevel low in rainwater reservoir

## Slide 4: Sensor – DHT22
LM35 example

## Slide 5: Sensors – HC-SR04
Depth

## Slide 6: Actuator
700 L/hour
Max: 1.2 A; 6-12V
Could be powered by 3 Lithium batteries

## Slide 7: Webhooks